## Package Plant Grade Sheet
ALABAMA WATER & POLLUTION CONTROL ASSOCIATION'S | [8 empty] | Score_2 | Score_1 | Yes_No | Answer | Score_4 | Score_3
PACKAGE PLANT "BEST OPERATED PLANT" GRADE SHEET | [8 empty] | 2 | 1 | yes | excellent | 4 | 3
[9 empty] | 0 | 0 | no | good | 3 | 2
|  | Name of Plant or System: | [9 empty] | fair | 2 | 1
[12 empty] | poor | 1 | 0
I. | Raw Water Equipment | [11 empty] | 0
|  |  | Total for Section I | 0
II. | Filters
|  |  | Total for Section V | 0
III. | Clearwell
|  |  | Total for Section III | 0
IV. | Chemical Feed Equipment
|  |  | Total for Section VII | 0
V. | Extra Equipment
|  |  | Total for Section VIII | 0
VI. | Maintenance & Operation Records
|  |  | Total for Section IX | 0
VII. | Safety
|  |  | Total for Section X | 0
VIII. | Water Quality Performance
|  |  | Total for Section XII | 0
IX. | Appearance
|  |  | Total for Section IX | 0
X. | General
|  |  | Total for Section X | 0
|  |  | Total Score | 0 | (100 Possible Points)
Inspector:
Date of Inspection:
I. | Raw Water Equipment |  |  |  | (Answer) |  | (Score)
1. | Has Generator
(yes = 1 no = 0)
2. | Operable Raw Water Meter
(yes = 1 no = 0)
3. | Is Facility Visited Daily
(yes = 1 no = 0)
4. | Overall Condition
(excellent = 4 good = 3 fair = 2 poor = 0)
|  |  |  | Total for section I | 0
II. | Filters |  |  |  | (Answer) |  | (Score)
1. | All Loss of Head (DP) Indicators Operable |  |  |  |  | *
(yes = 1 no* = -1)
2. | All Rate of Flow Indicators Operable |  |  |  |  | *
(yes = 1 no* = -1)
3. | Is There a Standard Operating Procedure for
Backwash
(yes = 1 no = 0)
4. | Are Rake & Hookgage or other Advanced Flow
Rate Equipment Available
(yes = 1 no = 0)
|  |  |  | Total for section II | 0
III. | Clearwell |  |  |  | (Answer) |  | (Score)
1. | Is Clearwell Properly Protected |  |  |  |  | *
(yes = 1 no* = -1)
2. | Is Clearwell Level Indicator Working Properly
(yes = 1 no = 0)
3. | Overall Condition
(excellent = 4 good = 3 fair = 2 poor = 0)
|  |  |  | Total for section III | 0
IV. | Chemical Feed Equipment |  |  |  | (Answer) |  | (Score)
1. | Spare Disinfectant Feeder |  |  |  |  | *
(yes = 2 no* = -2)
2. | Spare Corrosion Control Feeder |  |  |  |  | *
(yes = 2 no* = -2)
3. | Spare Coagulant Feeder |  |  |  |  | *
(yes = 2 no* = -2)
4. | Is Weight of Chemical Usage Recorded
(yes = 2 no = 0)
5. | Overall Condition
(excellent = 4 good = 3 fair = 2 poor = 0)
|  |  |  | Total for section IV | 0
V. | Extra Equipment | [5 empty] | (Score)
(1 Point Each)
1. | Fluoride Being Feed
2. | Corrosion Inhibitor Other Than Lime, Soda Ash,
etc. Being Used
3. | Powdered Activated Carbon, Potassium Permanganate
or other Oxidation Chemical is Being Feed
4. | Particle Counters or Advanced Turbidity Equipment
Being Used
[6 empty] | Total for section V | 0
VI. | Maintenance & Operation Records |  |  |  |  | (Answer) |  | (Score)
1. | Makes Monthly Determination of Unaccounted | [5 empty] | *
for Water
(yes = 1 no* = -1)
2 | Are Turbidimeters Verified Weekly & Calibrated | [5 empty] | *
Quarterly
(yes = 1 no* = -1)
3 | Records Indication Monthly Rate of Flow | [5 empty] | *
Measurements on Each Filter
(yes = 1 no* = -1)
4 | Produces Monthly Operating Report for previous year
(yes = 1 no = 0)
5 | Is Unaccounted for Water 15% or Less for the
Past Twelve (12) Months
(yes = 1 no = 0)
6 | Calibration Charts for Feeders Updated Within
the Past Six (6) Months
(yes = 1 no = 0)
7 | Produces Bacteriological & Chemical Results for
previous year
(yes = 1 no = 0)
8 | Produces Consumer Confidence Report for previous year
(yes = 1 no = 0)
9 | Has Raw & Finished Water Flow Meters Been Calibrated
in the Past Twelve (12) Months
(yes = 1 no = 0)
10 | Does System Have a Cross-Connection Policy
(yes = 1 no = 0)
[5 empty] | Total for section VI | 0
VII. | Safety |  |  |  |  | (Answer) |  | (Score)
1. | Gas Mask with Unexpired Canister or SCBA, or | [5 empty] | *
comparable Safety Equipment if Feeding Disinfectant
Other Than Chlorine
(yes = 2 no* = -2)
2. | Has Safety Displays & Posters
(yes = 2 no = 0)
3. | Are all Areas of the Plant Safe to Work Except as
Noted by Appropriate Signs
(yes = 2 no = 0)
4. | Can Produce Evidence of Completing any Safety
or First Aid Seminar or Class
(yes = 2 no = 0)
5. | Do Disinfectant Rooms Have Proper Ventalation
(yes = 2 no = 0)
6. | Is an Operable Shower Available Near the
Fluoride Area
(yes = 2 no = 0)
[5 empty] | Total for section VII | 0
VIII. | Water Quality Performance (January - December) | [5 empty] | (Score)
1. | Maximum Filter Effluent Turbidity is 0.10 NTU or Less
(2 points)
2. | "A" = Maximum Monthly Filtered Water Turbidity: |  |  |  |  | NTU
1.0 - "A" = "B" x 5 = Total Points
3. | Fluoride Concentration Averaged Between 0.5 mg/L & 0.8 mg/L
(2 points)
4. | TOC Performance Ratio Results Reported to ADEM were 1.0 or Greater
(2 points)
7. | DBP in Compliance for the Last Year
(2 points)
|  |  |  | Total for section VIII | 0
IX. | Appearance |  |  |  | (Answer) |  | (Score)
1. | Interior of the Plant
(excellent = 5 good = 4 fair = 3 poor = 0)
2. | Exterior of the Plant
(excellent = 5 good = 4 fair = 3 poor = 0)
3. | Overall Rating of the Plant
(excellent = 5 good = 4 fair = 3 poor = 0)
|  |  |  | Total for section IX | 0
X. | General |  |  |  | (Answer) |  | (Score)
1. | One Point for Each AWPCA Conference Attended in the Past
Three (3) Years by Plant Personnel
(Maximum of 3 Points)
2. | One Point for Each Member of AWPCA
(Maximum of 4 Points)
3. | Overall Rating of Operators Capabilities
(excellent = 5 good = 4 fair = 3 poor = 0)
4. | Overall Rating of Plant Operation
(excellent = 5 good = 4 fair = 3 poor = 0)
|  |  |  | Total for section X | 0
|  |  |  | Total Score | 0

## Sheet3
5